## Slide 1: CENTRE FOR APPLICATIONS OF NUCLEAR TECHNIQUE IN INDUSTRY Reporter: Nguyen Ngoc Nhat Anh

## Slide 2: INTRODUCTION
Centre for Applications of Nuclear Technique in Industry (CANTI)
Address: 01, DT 723, Ward 12, Dalat, Lamdong, Vietnam.
www.canti.vn

## Slide 3
CANTI reseaches and provides NDT services: Gamma scan, LRUT, Computed tomography (CT), Radioisotope analysis,…
www.canti.vn
CT scan
LRUT
Gamma scanning

## Slide 4
In early 2018, CANTI’s dosimetry laboratory was founded to perform individual dosimetry service.
Human: include 4 people in which 2 master of sciences, 2 researchers.
Facilities and environmental conditions:
DOSIMETRY LABORATORY OF CANTI
www.canti.vn
Notes: All of them have certificate of dosimetry service which were provided by Vietnam Agency for Radiation and Nuclear Safety (Varans).
Average Temperature: highest: 21 - 25 C degree from Jan to mar, lowest 17 – 19 C degree from octo to decem.
Humidity: lowest: 43 – 68 % from Jan to mar. Highest: 80 - 94% from octo to decem

## Slide 5
Equipments: microStar reader, annealer, computer, barcode reader, 200 Inlight dosimeter, 15 cabliration dosimeter, nanoDot for research.
www.canti.vn

## Slide 6
Metrological traceability:
National standard TCVN 7174: 2002 (ISO 12794: 2000)
Technical materials of Landauer.
RS-G-1.3 Assessment of Occupational Exposure Due to External of Source of Radiation publication by IAEA
www.canti.vn
Notes: Quality of dosimeters and reader were assessed base on

## Slide 7
www.canti.vn
QA\QC Program:

## Slide 8
  Quality of dosimeters (TCVN 7174: 2002 )
    Energy depend
    Linearity
    Lower Limit of Detection
    Reproducibility
    Uniformity
  Quality of Reader:
    Performance: Dark, Cal, Led
    Calibration: Low dose, High dose.
www.canti.vn

## Slide 9
Number of service
  Monitoring individual dosimetry for employee of CANTI
  Dosimetry service of CANTI haven't customer yet.
Problems
  New subject in CANTI
  Lack of experience.
Object
  Maintain the dosimetry laboratory
  Improve QA\QC program
www.canti.vn

## Slide 10
www.canti.vn
Thanks for your listening